S-SA5F-W

Features                          Viewing picture at night

• Die casting aluminum housing, strong and durable

• One piece forming lens, uniform light spot and delicate

• Support power adjust

• Support light sensor sensitivity adjust

• Anti-dazzle panel optional, less influence of human eye

• IP66 waterproof

With white light       Without white light

Technical Specification             Drawing

Luminous flux: 910lm

Color temperature: 5500-6500K

Beam angle: 60°

Beam distance: 1m to 10m

Bracket: wall mount bracket

Working voltage: AC220V

Power consumption: ＜8W

Day/night switch: 0-50LUX adjustable

Brightness adjust: 5%-100% adjustable

Working temperatures: -20°C to 50°C

Protection level: IP66

Color: white

Panel: tempered glass

Housing: aluminum die-casting housing

a：125mm   b：137mm

c：77mm    d：25mm

e：24.5mm   f：6.5mm

Net weight: 0.65kg

Gross weight: 0.8kg

Model for Selection                  Product Certificate

Model       Beam angle   Viewing distance*

S-SA5F-60-W       60°           1m-10m

*Viewing distance is depending on the technical

specification of camera and lens.